## Slide 1: TwinCAT HMI

## Slide 2: TwinCAT HMI Agenda
Introduction
Engineering
Architecture
Scenarios
Products
Features

## Slide 3: TwinCAT HMI Agenda
Introduction
Engineering
Architecture
Scenarios
Products
Features

## Slide 4: TwinCAT HMI | Introduction Technology
Plattform
independent
Future-proof
Responsive
Performant

## Slide 5: TwinCAT HMI | Introduction Components
TwinCAT HMI Creator
TwinCAT HMI Framework
TwinCAT HMI Server
TwinCAT HMI Client (HTML5-Browser)

## Slide 6: TwinCAT HMI Agenda
Introduction
Engineering
Architecture
Scenarios
Products
Features

## Slide 7: TwinCAT HMI | Engineering Visual Studio® Integration
One engineering tool
One solution for multiple projects (e.G. TwinCAT 3)
Source code control
Live engineering

## Slide 8: TwinCAT HMI | Engineering WYSIWYG-Editor
Graphical editor
Creation via Drag & Drop possible
Standard controls
Create own Users controls
Actions and Conditions Editor
User Management
Language and unit Management
Recipe Management
Alarming

## Slide 9: TwinCAT HMI | Engineering Extensibility
Framework Controls
  JavaScript / TypeScript
  3rd party
Server Extensions
  C# .NET
  C# .NET Core (VS2019)

## Slide 10: TwinCAT HMI | Engineering Modular Engineering
View
Content
Content
View
User Control
Framework Control
Standard
Control
Content

## Slide 11: TwinCAT HMI | Engineering Project Templates
Integrate into TwinCAT HMI Engineering as VS project template
Developed by the Beckhoff design professionals
Preconfigured functionalities
  User management (Client)
  Event system
  Theme selection
Application Template

## Slide 12: TwinCAT HMI | Engineering Project Templates
Web Navigation Template

## Slide 13: TwinCAT HMI | Engineering Variables
Online Engineering
  Active ADS-Data available to map
Offline Engineering
  TMC-Support for engineering without PLC connection
  Load TMC-files and map variables offline
  Switch to real PLC if connection is available

## Slide 14: TwinCAT HMI | Engineering EtherCAT Diagnosis Control
Auto generated EtherCAT topology view for TwinCAT HMI
Provides detailed information of masters and slaves
Propose remedies in service case
Support features:
  Hot Connect
  Redundancy
  Force process data inside the detail's popup
Included in TwinCAT HMI license

## Slide 15: TwinCAT HMI | Engineering Eventlogger-Extension
Communication with TC3 Eventlogger
  local targets
  remote targets
Access to TwinCAT Eventlogger database
  active alarms
  historical alarms
Designed for EventGrid Control
included in TF2000 Server license
HMI Server
Eventlogger
Extension
HMI Client
EventGrid
Control
TwinCAT
EventLogger
TC3 PLC
TC3 C++
DB

## Slide 16: TwinCAT HMI | Engineering EventGrid-Control
Display of all HMI events
  EventLogger-Extension
  Alarm-Extension
  Custom-Extension
Configurable filters
  active and historical events
Multi-Language Support
User-Management Support
Event API available
HMI Server
Eventlogger
Extension
HMI Client
EventGrid
Control
Custom Server
Extension
Custom Framework Control

## Slide 17: TwinCAT HMI | Engineering TwinCAT Scope Integration
Display of TwinCAT Scope Charts in HMI Client
Recording settings (start/stop)
Data analysis (zoom, move)
Available chart types: y(t), x(y), Bar, Array Bar
Import of existing Scope configurations
Included in HMI and Scope license

## Slide 18: TwinCAT HMI Agenda
Introduction
Engineering
Architecture
Scenarios
Products
Features

## Slide 19: TwinCAT HMI | Architecture Architecture in engineering
TwinCAT Runtimes
TwinCAT 3
System Manager
Programmierung
TwinCAT HMI
TwinCAT HMI Creator
TwinCAT HMI Framework
Visual Studio®
HTTP(S), WS(S)
ADS
TwinCAT HMI Server
TwinCAT HMI Server Extension
Events
User Management
Custom Extension
…
ADS

## Slide 20: TwinCAT HMI | Architecture Architecture during runtime
TwinCAT HMI Client
TwinCAT HMI Project
Pages
Logic
…
TwinCAT HMI Framework
Controls
API
…
WS(S)
TwinCAT Runtimes
HTTP(S)
ADS
TwinCAT HMI Server
ADS
TwinCAT HMI Server Extension
Protocols
…
WWW Root
Content
Framework
3rd Party Runtimes
Events

## Slide 21: TwinCAT HMI Agenda
Introduction
Engineering
Architecture
Scenarios
Products
Features

## Slide 22: TwinCAT HMI | Scenarios Local client
Panel
DVI/USB
PC
TwinCAT HMI Client
TwinCAT HMI Server
TwinCAT Runtime

## Slide 23: TwinCAT HMI | Scenarios Multi-client
Panel PC
TwinCAT HMI Client
TwinCAT HMI Server
TwinCAT Runtime
WebSockets
Mobile Device
TwinCAT HMI Client 2
Panel PC
TwinCAT HMI Client 1
Mobile Device
TwinCAT HMI Client 3

## Slide 24: TwinCAT HMI | Scenarios Multi-runtime
Panel PC
TwinCAT HMI Client 1
Mobile Device
TwinCAT HMI Client 2
PC
TwinCAT Runtime 1
PC
TwinCAT HMI Server
ADS
WebSockets
PC
TwinCAT Runtime n
PC
TwinCAT Runtime 2

## Slide 25: TwinCAT HMI | Scenarios Multi-server
WebSockets
Panel PC
TwinCAT HMI Client 1
PC
TwinCAT Runtime 1
PC
TwinCAT Runtime n
PC
TwinCAT Runtime 2
TwinCAT HMI Server
TwinCAT HMI Server 1
TwinCAT HMI Server 2
TwinCAT HMI Server n

## Slide 26: TwinCAT HMI | Scenarios Multi-protocol
PLC
I/O
Functions
C++
Analytics
...
IoT
HTTP(S), WS(S)
Panel PC
TwinCAT HMI Client
TwinCAT HMI Server
TwinCAT HMI Server Extensions
Protocols
Events
Users
…
3rd Party…
Custom…
Panel PC
TwinCAT HMI Client
3rd Party
…

## Slide 27: TwinCAT HMI Agenda
Introduction
Engineering
Architecture
Scenarios
Products
Features

## Slide 28: TwinCAT HMI | Products Products
TE2000 TC3 HMI Engineering
  HMI Engineering environment integrated in Visual Studio
TF2000 TC3 HMI Server
  One Client (Browser) and one Target (ADS) connection integrated
TF20x0 TC3 HMI Clients Pack
  Extension of the number of concurrent client connections
TF20x0 TC3 HMI Targets Pack
  Extension of the number of concurrent target connections

## Slide 29: TwinCAT HMI | Products Products
TF2110 TC3 HMI OPC UA
  Vendor-independent communication protocol
TF2200 TC3 HMI Extension SDK
  Integration of custom .NET business logic
TF2300 TC3 HMI Scope
  Integration of TwinCAT Scope

## Slide 30: TwinCAT HMI | Products Business Model
  Licensing is not based on the number of tags!
  HMI Engineering is free of charge
    Including updates and support
  Licensing is based on
    Platform level (like TC3) of TC HMI Server
    Amount of clients and targets
No count of tags
TF2000 HMI Server
Optional
1 / 2 / 3 / 5 / 10 / 20 / 25 / 100
TF20x0 Clients Pack
1 / 2 / 3 / 5 / 10 / 20 / 25 / 100
TF20x0 Targets Pack
Scope, OPC UA, …
HMI Extensions
TwinCAT 3 HMI License
+
+
=
Includes:
- 1 Client (Browser)
- 1 Target (NetId)

## Slide 31: TwinCAT HMI Agenda
Introduction
Engineering
Architecture
Scenarios
Products
Features

## Slide 32: TwinCAT HMI | Features Project Generator
Graphical configurator
  Different templates
  Fixed resolution or responsive
  Configure layout and navigation
UX design by experts
Preconfigured functionalities
  User management (Client)
  Event system
  Theme selection
TwinCAT HMI | Features

## Slide 33: TwinCAT HMI | Features User Management
User Management server extension integrated
  Create user groups and users
  Dynamic editing and addition of users
User Management front-end control
Default Login page editable & option to add new custom login page
Permissions for controls, symbols, files
Complex controls can have permissions for individual nested controls

## Slide 34: TwinCAT HMI | Features Alarm Extension
Use a symbol to generate an alarm
  ADS
  OPC UA
  Custom Server Extension
EventGrid & EventLine support
Localized text support
Integrated in HMI Server
  no running server, no events
  update rate in fixed interval time

## Slide 35: TwinCAT HMI | Features Time-based client license
New TF2049 „Time Based Clients“ license
  Free of charge
Use Case
  Maintenance
  temporary single client access if max. clients are reached
Limitations:
  30 minutes access
  5 minutes block time
  countdown and banner
  warning 5 minutes before block time

## Slide 36: TwinCAT HMI | Features Package Management
Based on Microsoft NuGet
Create libraries for
  Controls
  Extensions
  Functions and CodeBehinds
  Images and Css-Files
Create dependencies between packages
Share packages internal or external
Easier Update Management

## Slide 37: TwinCAT HMI | Features LDAP Extension
Support of Lightweight Directory Access Protocol
Connection to central user management (Active Directory)
Use OS credentials to log into HMI client
Transparent use by group mappings
HMI Client
HMI Server
HMI Usermanagement
HMI Groups | LDAP Groups
Engineers | COMPANY\Engineers
Operators | COMPANY\Operators
HMI LDAP
Extension
LDAP
Server
Active Directory
Group mappings
Company.com
UserXY

## Slide 38: TwinCAT HMI | Features Automation Interface
Automatic generation of TcHmi projects
Comparable to TwinCAT Automation Interface
API to access most the engineering functions
Program language independent – based on COM
Use Cases:
  Automatic HMI deployment
  Series machine builders
  Project generation based on PLC code
  …
create TcHmi project
deploy project on target Server
Automated task or plugin

## Slide 39: TwinCAT HMI | Features TypeScript Support
Added TypeScript support to TcHmi (superset of JavaScript)
Use TypeScript for
  Framework Controls
  Code Behind files
  Functions
Development in JavaScript also possible
Benefits:
Type-safe
Easier and faster development
Higher flexibility

## Slide 40: TwinCAT HMI Highlights
Efficient engineering
Web-based
HTML5, JavaScript, TypeScript
Platform independence
Flexible architecture
Modular extensibility
Cloud Machine Interface

## Slide 41: TwinCAT HMI Questions?